APPLICATION: ROOFING – PMR ASSEMBLY

ASSEMBLY:	 FABRIC REINFORCED 215 MILS

MONOLITHIC MEMBRANE 6125®  FR

LONG FORM SPECIFICATION

PART I GENERAL

1.01	SUMMARY

- This specification serves as a guideline and shall be adapted to suit the needs of each individual project by the architect. It is prepared in accordance with the CSI three-part section format and shall be included as a separate section under DIVISION 7 - Thermal and Moisture Protection. Improvements and other changes to the content shall be made only with the written approval of the architect.

1.02	RELATED SECTIONS (Note to Specifier: Edit to project requirements)

A.	DIVISION 2 - Sitework [Section 02500/02870] - Paving/Site Furnishings

B.	DIVISION 3 - Concrete [Section 03300] - Roof Deck Surface/Substrate

The coordination of this section is necessary to facilitate the successful installation of the waterproofing membrane.

Cast in Place Concrete/Composite Deck

1.	Strength/density:	minimum  2,500 psi (17,235 kPa) compressive strength

minimum 115 pcf (1842 kg/m3) density

2.	Finish:			Broom finish or equivalent similar to ICRI CSP 3 to 5.  			Steel troweled finish is not desirable.

3.	Concrete Hydration (Cure):

a.	Method of Cure:  Water cure, wet coverings, paper sheets, plastic sheets, or approved liquid curing compound (sodium silicate preferred).

b.	Duration of Cure/Dry:

i.	Structural Weight Concrete:  recommend 28 days, minimum 14 days, prior to application of the membrane.

ii.	Lightweight Structural Concrete:  recommend 60 days, minimum 28 days, prior to application of membrane. Venting of the deck from the underside is recommended to facilitate drying.

iii.	The above minimum cure/dry times are recommended based upon basic concrete fundamentals and experience. Depending on conditions (i.e., ambient temperature, humidity) the concrete may be dry enough to receive application of the membrane in less than the 14 day minimum recommendation. Consult Sika/Hydrotech for specifics when less than the minimum is desired.

- Form Release Agents: Contact Sika/Hydrotech

*REFER TO SECTION 3.02 PREPARATION, FOR ADDITIONAL SUBSTRATE TYPES*

C.     Other Related Sections:

    - Section 035000 – Cast Decks and Underlayment

    - Section 053000 – Metal Decking

    - Section 061510 – Wood Decking

    - Section 076000 – Flashing & Sheet Metal

    - Section 077200 – Roof Accessories

    - Section 079200 – Joint Sealants

    - Section 220000 – Plumbing

    - Section 321400 – Unit Paving

    - Section 323300 – Site Furnishings

    - Section 328000 – Irrigation

    - Section 329300 – Plants

    - Section 329400 – Planting Accessories

    - Section 330000 – Utilities

1.03	REFERENCES

A.	American Society for Testing and Materials (ASTM).

- Canadian Government Specification Board CGSB-37.50-M89, Standard for "Asphalt, Rubberized, Hot Applied, for Roofing and Waterproofing."

- International Concrete Repair Institute (ICRI) Concrete Surface Profile (CSP) Scale.

- Underwriters Laboratories (UL) Class A.

1.04	SYSTEM DESCRIPTION

A.	Furnish and install a completed vertical or horizontal waterproofing assembly including surface conditioner, Hydrotech® Monolithic Membrane 6125®-FR and related flashings, protection course, Styrofoam™ brand insulation (if required), drainage course (if required), and pavers/tile/garden (if required).

1.05	SUBMITTALS

A.	Certification from an approved independent testing laboratory experienced in testing this type material, that the material meets the CGSB-37.50-M89 standard for rubberized asphalt membranes, including applicable ASTM procedures.

- Certification that the roofing membrane has current validation by Underwriters Laboratories, or other approved independent validation service provider, of a minimum 40% recycled content (post-consumer).

C.	Certification showing full time quality control of production facilities responsible for the manufacture of the rubberized asphalt and that each batch of material is tested to ensure conformance with the manufacturers’ published physical properties.

- Certification that the plant manufacturing this material has IS0 9001:2015 approval as evidenced by a copy of the official certificate.

E.	Certification showing that all roofing components are being supplied and warranted by a single-source manufacturer.

- Certification that the extruded polystyrene insulation if used is free from CFC's.

- Evidence that the roof membrane assembly is currently Class A listed with Underwriters

Laboratories.

- Certification that the roof membrane assembly is currently listed as a Class 1 Roof Cover with Factory Mutual Research Corporation when required.

- Product Data: For each product

- Shop Drawings: Manufacturer’s standard details and shop drawings for the specified system.

1.06	QUALITY ASSURANCE

A.	The Roofing Contractor shall demonstrate qualifications to perform the work of this Section by submitting the following documentation:

1.	Certification or license by the membrane manufacturer as a locally based,

authorized applicator of the product the installer intends to use, for a  minimum of five (5) years.

2.	List of at least three (3) projects, satisfactorily completed within the past five (5) years, of similar scope and complexity to this project. Previous experience submittal shall correspond to specific membrane system proposed for use by applicator.

B.	Refer to Section 1.04 SYSTEM DESCRIPTION. Include single-source for all components from the manufacturer.

C.	The rubberized asphalt membrane product shall contain an inert filler and crumb rubber to enable the product to be resistant to acids (fertilizers, building washes and acid rain) and maintain membrane thickness during application, respectively.

D.	Membrane Manufacturer shall have available an in-house technical staff to assist the contractor, when necessary, in application of the products and final inspection of the assembly.

E.	Membrane Manufacturer Qualifications: Manufacturer shall demonstrate qualifications to supply materials of this section by certifying the following:

1.	Membrane Manufacturer shall show evidence that the specified rubberized asphalt has been manufactured by the same source for forty (40) years and successfully installed on a yearly basis for a minimum of forty (40) years on projects of similar scope and complexity.

2.	Membrane Manufacturer shall not issue warranties for terms longer than they have been manufacturing their hot fluid rubberized asphalt membrane.

F.	Pre-Construction Conferences. The manufacturer shall meet with the necessary parties at the jobsite to review and discuss project conditions as it relates to the integrity of the roofing assembly.

1.07	DELIVERY, STORAGE AND HANDLING

A.	Deliver materials in original unopened containers of packaging clearly labeled with manufacturer's name, brand name, instructions for use, all identifying numbers, and U.L. labels.

B.	Materials shall be stored in a neat, safe manner, not to exceed the allowable structural capacity of the storage area.

C.	Store, handle and protect products in accordance with manufacturer's instructions. Materials should be kept in a clean, dry area protected from water and direct sunlight.

D.	Store all adhesives at temperatures between 60°F (15.5°C) and 80°F (26.6°C). If exposed to lower temperatures, restore materials to 60°F (15.5°C) minimum temperature before using.

- Keep roof substrate board dry before, during, and after installation. Outside storage shall be off ground and protected by a breathable waterproof covering. Roof substrate boards shall be roofed the same day as installed.

  - PROJECT CONDITIONS

A.	Application of the membrane shall not commence nor proceed during inclement weather. All surfaces to receive the membrane shall be free of water, dew, frost, snow, and ice.

B.	Application of membrane shall not commence nor proceed when the ambient temperature is below 0°F (-17.7°C).

C.	Preparation and application of membrane shall be conducted in well-ventilated areas.

D.	Over its service life, do not expose membrane or accessories to a constant temperature in excess of 180°F (82°C) (i.e., hot pipes and vents or direct steam venting, etc.).

E.	Adhesives contain petroleum distillates and are extremely flammable. Do not breathe vapors or use near an open fire. Do not use in confined areas without adequate ventilation. Consult container or packaging labels and Material Safety Data Sheets (MSDS) for specific safety information.

F.	Do not allow waste products (petroleum, grease, oil, solvents, vegetable or mineral oil, animal fat, etc.) to come in contact with the roof membrane. Any exposure to foreign materials or chemical discharges shall be presented to membrane manufacturer for evaluation to determine any impact on the roof membrane assembly performance.

G.	Concrete Deck Surface Condition. IMPORTANT - Refer to 1.02 Related Sections.

H.	Deck Preparation; refer to Section 3.02 Preparation.

- For typical Protected Membrane Roof (PMR) applications, deck slopes in excess of 2 inches in 12 inches (10 degrees or 17%) shall be avoided. CONTACT Sika/Hydrotech for specifics.

- The project design professional shall design the roofing/waterproofing assembly to properly locate the dew point condition and determine the need and location for a vapor retarder to prevent excessive condensation contamination within the roofing/waterproofing assembly and/or delamination of the roofing/waterproofing membrane from the substrate.

- The project design professional shall design the roofing/waterproofing assembly to remain in place withstanding the wind speeds and uplift pressures as determined for the roof sections of the project.

- General Contractor shall assure that adequate protection is provided after installation of the membrane and accessories to prevent damage from subsequent trade traffic.

1.09	WARRANTY

A.	Upon completion of the work, the contractor shall supply the owner with a single-source warranty of U.S. origin direct from the manufacturer.

B.	Each warranty varies in scope and terms. CONTACT Sika/Hydrotech for exact warranty terms and conditions to meet the specific project requirements.

C.	Warranties available from the manufacturer: (Note to Specifier: Edit to project requirements)

1.	Material Warranties; excludes labor.

Duration:  5-, 10-, 15-, 20-year

2.	Watertightness Warranties; includes labor and material to maintain watertight condition and replacement of Hydrotech supplied roof substrate board.

Duration:  5-, 10-, 15-, 20-, 25, 30-year

3.	Thermal Warranties; includes 90% retention of the original thermal value.

Duration 5-, 10-, 15-, 20-, 25-, 30-year

Note to specifier: A limited wind resistance warranty, may also be available for the insulation. The roof ballast design requirements must follow DuPont’s Current TechSolutions Ballast Design Guide for PMR Systems. Contact Sika/Hydrotech DURING THE DESIGN PHASE for project specific ballasting assistance or guidelines.

4.	Total System Warranties (Ultimate); covers components of the roof assembly, including membrane, flashing, insulation, and pavers. Includes removal and reinstallation of the insulation and pavers when installed per Hydrotech's requirements and replacement of Hydrotech supplied roof substrate board.

  - Duration of Membrane/Flashing and replacement of Hydrotech supplied roof substrate board from date of installation: 5-, 10-, 15-, 20-year (watertight condition)

  - Duration of Insulation from date of purchase:  5-, 10-, 15-, 20-year (90% of original thermal value)

  - Duration of HydroGuard Insulation from date of purchase:  5-, 10-, 15 -year (90% of original thermal value)

  - Duration of Pavers from date of purchase: 5-, 10-year* - (will not crack, split, or delaminate due to freeze-thaw) (*may vary depending on Manufacturer)

  - Duration of Wood Tile from date of purchase: 5-year* (free of defects in material and workmanship) (*may vary depending on Manufacturer)

  - Duration of Porcelain Tile from date of purchase: 5-year* (free of defects in material and workmanship) (*may vary depending on Manufacturer)

*CONTACT SIKA/HYDROTECH FOR EXACT WARRANTY TERMS AND CONDITIONS.*

PART II PRODUCTS

2.01	GENERAL

A.	Refer to Section 1.04, SYSTEM DESCRIPTION. All components shall be obtained as a single-source from the membrane manufacturer to ensure total system compatibility and integrity.

Manufacturer:

Sika/Hydrotech®

100 Dan Road

Canton, Massachusetts 02021

1.888.509.3350

Web Site: www.hydrotechusa.com

2.02	MATERIALS

A.	Membrane

1.	Membrane shall be a hot, fluid applied, rubberized asphalt membrane meeting the CGSB-37.50-M89 standard and other pertinent physical properties:

- Hydrotech® Monolithic Membrane 6125®

| PROPERTY | TEST METHOD | ### REQUIREMENT |
| --- | --- | --- |
| Flash point | CGSB-37.50-M89 ASTM D-92 | > 500°F* (260°C) |
| Penetration | CGSB-37.50-M89 ASTM D-5329 | @ 77°F (25°C) max. 98 @ 122°F (50°C) max. 187 |
| Flow | CGSB-37.50-M89 ASTM D-5329 | 1.0mm @ 140°F (60°C) max. |
| Toughness | CGSB-37.50-M89 | ≥ 5.5 Joules |
| Ratio of Toughness to Peak Load | CGSB-37.50-M89 | ≥ 0.040 |
| Water Vapor Permeability | CGSB-37.50-M89 ASTM E-96, Procedure E | ≤ 1.7 ng/Pa.s.m2 (0.027 perm) |
| Water Absorption | CGSB-37.50-M89 | Gain in weight 0.35 g max. Loss in weight 0.18 g max. |
| Low Temperature Flexibility (-25°C) | CGSB-37.50-M89 | No delamination, adhesion loss, or cracking |
| Low Temperature Crack Bridging Capability | CGSB-37.50-M89 | No cracking, adhesion loss, or splitting |
| Heat Stability | CGSB-37.50-M89 | No change in viscosity, penetration, flow or low temperature flexibility |
| Viscosity | CGSB-37.50-M89 | 2 - 15 seconds |
| Water Resistance (5 days/50°C) | CGSB-37.50-M89 | No delamination, blistering, emulsification, or deterioration |
| Softening Point | ASTM D-36 | 180°F (82°C) |
| Elongation | ASTM D-5329 | 1000% minimum |
| Resiliency | ASTM D-5329 | 40% minimum |
| Bond to Concrete 0°F (-18°C) | ASTM D-5329 | Pass @0°F (-18°C) |
| Resistance to Acid | ASTM D-896 Procedure 7.1 (N-8) | Pass - 50% Nitric Acid Pass - 50% Sulfuric Acid |
| Resistance to Hydrostatic Pressure | ASTM D-08.22 Draft 2 | 100 psi (equals 231 foot of head water) |
| Resistance to Salt Water (20% Sodium carbonate calcium chloride) | ASTM D-896 similar | No delamination, blistering, emulsification, or deterioration |
| Resistance to Fertilizer (Undiluted 15/5/5, nitrogen/phosphorus/potash) | ASTM D-896 similar | No delamination, blistering, emulsification, or deterioration |
| Resistance to Animal Waste | 3-year exposure | No deterioration |
| Solids Content |  | 100% - no solvents |
| Recycled Content | UL Validated | 40% (post-consumer) (30% REACH compliant) |
| Shelf Life |  | 10 years (sealed) |
| Specific Gravity |  | 1.15 + .02 |
| * Or alternatively not less than 25oC above the manufacturer’s maximum recommended application temperature |  |  |

- Roof Substrate Board (if required) (Note: Edit to project requirements)

1.	Securock Roof Board as marketed by Sika/Hydrotech, Inc.

- Cement Board - Exceptional strength, meets FM Class 1 and UL        Class A fire ratings, mold resistant roof board

- Gypsum-Fiber Roof Board – Exceptional strength, mold resistant              roof board gypsum panels made from 95% recycled content.

  - Miscellaneous

    - Fasteners and Plates

Provide size and type in accordance with Factory Mutual and/or

applicable codes and to maintain structural integrity. Only 3 inch

low profile, round metal plates shall be used.

    - Adhesive

Provide adhesive compatible with roof board and insulation

to comply with Factory Mutual and/or applicable codes and to

maintain structural integrity.

    - Vapor Barrier

Provide vapor retarder as required by design professional.

2.	Other approved fire rated type "X" roof substrate boards

(Note: CONSULT Sika/Hydrotech for recommended products and uses.)

- Surface Conditioner (Note to Specifier: Edit to project requirements)

1.	Hydrotech® Surface Conditioner 56170

Asphaltic surface conditioner for concrete surfaces.

2.	Hydrotech® Low VOC Surface Conditioner

LOW VOC Asphaltic surface conditioner for concrete surfaces.

3.	Hydrotech® Surface Conditioner VC

Low VOC Compliant surface conditioner for concrete surfaces.

4.	Hydrotech® Surface Conditioner GC

Moisture Mitigating surface conditioner for concrete surfaces.

- Reinforcing (Note to Specifier: Edit to project requirements)

1.	Hydrotech® Flex Flash UN®

60-mil (1.5 mm) thick, uncured neoprene  flashing/(heavy duty) reinforcing sheet.

2.	Hydrotech® Flex Flash F®

Spunbonded polyester fabric (standard duty) reinforcing sheet.

3.	Hydrotech® Flex Flash FV® (vertical)

Woven fiberglass fabric reinforcing sheet (vertical applications only)

- Flashing (Note to Specifier: Edit to project requirements)

1.	Hydrotech® Flex Flash UN®

60-mil (1.5 mm) thick, uncured neoprene  flashing/(heavy duty) reinforcing flashing sheet.

2.	Hydrotech® Flex-Flash MB®

180-mil (4 mm) thick, torch-grade, modified asphalt, reinforced flashing membrane. . Meets and exceeds requirements of ASTM D6223, Type I, Grade G.

- Sikalastic Rapid PMMA

Two-component, liquid applied resin membrane flashing system.

- Sikalastic Rapid 724 (summer grade) or WW (winter grade) – poly methyl-methacrylate (PMMA) resin

- Sikalastic Rapid 724 Detailer - poly methyl-methacrylate (PMMA resin with integral chopped polymer fiber reinforcement

- Sikalastic Rapid Catalyst PMMA - reactive agent to initiate curing of methyl-methacrylate liquid resins and primers

- Sikalastic Rapid Primer ASP - rapid-setting, proprietary formulation polymethyl methacrylate (PMMA) primer for asphaltic, wood, masonry, concrete, wood, and other surfaces.

- Sikalastic Rapid Primer Metal - rapid-setting, acrylic primer for metal surfaces.

- Sikalastic Rapid Fleece PMMA -  non-woven, needle-punched polyester fleece used as the reinforcement for Sikalastic Rapid liquid flashing details

- Hydrotech® HydroSeal 1K

One-component, liquid applied membrane flashing system

  - Hydrotech® HydroSeal 1K PU Membrane -Aliphatic and alkaline resistant,  low VOC polyurethane (PU) resin.

  - Hydrotech® HydroSeal 1K Epoxy Primer-for use on most sound substrates including concrete, masonry, plywood, metal, and bitumen-based membranes such as Monolithic Membrane 6125®

  - Hydrotech® HydroSeal 1K Fleece-heavy duty, non-woven, chopped strand polyester fabric reinforcement

  - Hydrotech® HydroSeal 1K Fiber Reinforcement-nonwoven, surface treated glass fiber reinforcement

(Note to Specifier: CONSULT Sika/Hydrotech  for recommended products and uses.)

- Adhesives/Sealant (Note to Specifier: Edit to project requirements)

1.	Hydrotech® Splice Tape Primer

Solvent-based, fast drying, VOC-compliant lap / seam primer

2.	Hydrotech® Splice Tape

Pressure sensitive butyl tape to bond elastomeric flashing together.

3.	Hydrotech® Low VOC Bonding Adhesive

Contact adhesive to bond elastomeric flashing to an approved substrate.

4.	SikaHyflex® - 407 EverFlash Universal

One component, non-sag, flexible, flashing sealant and weather barrier sealant designed for primer less adhesion to the most challenging substrates found in the building envelope such as, hot applied rubberized asphalt,  peel & stick window and flashing membranes

- Protection Course (Note to Specifier: Edit to project requirements)

1.	Fiberglass reinforced rubberized asphalt sheet.

a.	Hydrotech® Hydroflex® 10 – (roofing applications only)

b.	Hydrotech® Hydroflex® 30

- Fire resistant, fiberglass reinforced, granular surfaced, rubberized asphalt cap sheet.

a.	Hydrotech® Hydrocap® 160FR

b.	Hydrotech® Hydrocap® 90FR (Note to Specifier: required for FM Class 1 Roof Cover)

- Prefabricated Drainage Course (if required) (Note to Specifier: Edit to project requirements)

- Composite drainage system: Consisting of a three-dimensional, crush-proof, HPDE, geonet drainage core and a white non-woven filter fabric meeting the following physical properties.

a.	Hydrotech® Hydrodrain®

    - 300 - filter fabric – top ply

    - 302 - filter fabric – top & bottom

    - 1000 - filter fabric – top & bottom

| Compressive Strength | ASTM D-1621 | 300/302/1000 – 40,000 psf |
| --- | --- | --- |
| Thickness | ASTM D-1777 | 300/302/1000- .25 in (.64 cm) |
| Flow, Q @ 3600 psf & hydraulic gradient of 1 | ASTM D-4716 | 300/302/1000 – 8.5 gpm/ft width (106.00 lpmin/m width) |
| FABRIC (TOP): |  |  |
| Flow FABRIC (BOTTOM): Flow | ASTM D-4491 ASTM D-4491 | 300/302/1000 - 150 gpm/ft2 (6105 lpmin/m2) 302/1000 - 110 gpm/ft2 (4481 lpmin/m2) |
| U.V. Resistance | ASTM D-4355 | Fully Stabilized |
| Apparent Opening Size (EOS) | CW-02215 | 300/302/1000 – 70 (.212mm)) |
| Grab Tensile | ASTM D-4632 | 300/302/1000 - 100 lbs. (0.445 KN) |

- Composite drainage system: Consisting of an impermeable polypropylene sheet with a high-flow dimple type drainage core with woven or nonwoven filter fabric bonded to one side.

  - Hydrotech® Hydrodrain®

    - 400 - filter fabric – top only

    - 420 - filter fabric top w/polyethylene sheet bonded to underside

    - 700 - filter fabric – top

    - 990 - filter fabric - top

| Compressive Strength | ASTM D-1621 | 400/420 - 15,000 psf 700 - 21,000 psf 990 - 33,000 psf |
| --- | --- | --- |
| Thickness | ASTM D-1777 | 400/420/700/990 - .40 in (1.016 cm) |
| Flow (core), Q @ 3600 psf & hydraulic gradient of 1 | ASTM D-4716 | 400/420 - 21 gpm/ft width (260 lpmin/m width) 700 - 23 gpm/ft width (286 lpmin/m width) 990 - 24 gpm/ft width (298 lpmin/m width) |
| Flow (Fabric) | ASTM D-4491 ASTM D-4491 | 400/420/700 – 150 gpm/ft2 (6105 lpmin/m2) 990 - 145 gpm/ft2 (5907 lpmin/m2) |
| U.V. Resistance | ASTM D-4355 | Fully Stabilized |
| Apparent Opening Size (EOS) | CW-02215 | 400/420 – 70 (.212mm) 700/990 – 40 (.60 mm) |
| Grab Tensile | ASTM D-4632 | 400/420 - 100 lbs.(0.445 KN) 700 – 360x260 lbs. (445x355 N) 990 – 365x200 lbs. (1,624x890 N) |

- Insulation (Note to Specifier: Edit to project requirements)

1.	Styrofoam™ brand insulation [TYPE] as manufactured by DuPont™, marketed by Sika Corporation

Extruded polystyrene rigid board insulation for use above membrane.

- Insulation shall meet ASTM C-578, Type VI, V or VII.

b.	Minimum compressive strength, ASTM D-1621, 40, 60 or 100 PSI (276 or 414 or 689 kPa) (variance by type of product).

c.	Maximum water absorption by volume per ASTM C-272, 0.1%.

d.	Water vapor permeance for 1" product per ASTM E-96, 0.8 perm (max.) (63 ng/Pa/s/m2)

e.	Insulation shall have an R value of 5.0°F ft2 h/Btu/in. (0.88 K m2/W) of thickness when tested at 75°F (23.9°C) mean temperature in accordance with ASTM C-518

f.	Product shall be free of CFC's

Product types available:  Styrofoam™ brand Roofing Material; Ribbed Roofing Material; Plaza Deck; and High Load 100. (Note to Specifier: CONSULT Sika/Hydrotech  for recommended product type.)

- Styrofoam™ brand insulation [TYPE] as manufactured by DuPont™, marketed by Sika/ Hydrotech, Inc.

Extruded polystyrene rigid board insulation for use as flat fill and tapered insulation below roof substrate board.

a.	Insulation shall meet ASTM C-578, Type VI, V or VII.

b.	Minimum compressive strength, ASTM D-1621, 40, 60 or 100 PSI (276 or 414 or 689 kPa) (variance by type of product).

c.	Maximum water absorption by volume per ASTM C-272, 0.1%.

d.	Water vapor permeance for 1" product per ASTM E-96, 1.1 perm (max.) (63 ng/Pa/s/m2)

e.	Insulation shall have an R value of 5.0°F ft2 h/Btu/in. (0.88 K m2/W) of thickness when tested at 75°F (23.9°C) mean temperature in accordance with ASTM C-518

f.	Product shall be free of CFC's

Product types available:  Styrofoam™ brand, DeckMate Plus, DeckMate Plus FA, Tapered DeckMate Plus FA. (Note to Specifier: CONSULT Sika/Hydrotech for recommended product type.)

3.	Geofoam Lightweight Fill as manufactured by Atlas, marketed by  Sika/Hydrotech

Expanded polystyrene geofoam insulation for use as structural fill.

        - Geofoam Lightweight Fill using 100 percent virgin feedstock as manufactured by Atlas Molded Products and marketed by Sila/Hydrotech

        - Geofoam shall meet ASTM D6817.

        - Surface Burning: Class A, with Flame Spread Index (FSI) of <25, and Smoke Developed Index (SDI) of <450, in compliance with ASTM E84 or UL723.

- Air Layer (Note to Specifier: Edit to project requirements – air layer may be required for thermal warranty - CONSULT Sika/Hydrotech)

1.	Hydrotech® Hydrodrain® AL - to be used as the air space between the surface of  DuPont Styrofoam™ insulation boards and a monolithic pour of concrete or when pavers are to be placed directly on the insulation

- Filter Fabric

1. 	Hydrotech® Stone Filter Fabric

Water permeable polymeric fabric.

- Roof Ballast (Note to Specifier: Edit to project requirements)

1.	Pavers

a.	Ballast Pavers meeting the following physical properties:

| PROPERTY | TEST METHOD | VALUES |
| --- | --- | --- |
| Compressive Strength | ASTM C140 | >8,500 psi average min. |
| Flexural Strength | ASTM C293 | >1,100 psi average min. |
| Water Absorption | ASTM C140 | Not greater than 5% |
| Freeze/Thaw | ASTM C67 | <1% loss/dry weight (50 cycles) |
| Centerload | - | Min. 1,750 lbs. |

b.	Architectural Pavers, meeting the  following physical properties:

| PROPERTY | TEST METHOD | VALUES |
| --- | --- | --- |
| Compressive Strength | ASTM C140 | >8,500 psi average min. |
| Flexural Strength | ASTM C293 | >1,100 psi average min. |
| Water Absorption | ASTM C140 | Not greater than 5% |
| Freeze/Thaw | ASTM C67 | <1% loss/dry weight (50 Cycles) |
| Center load | - | Min. 1,750 lbs. |

c.	Wood Tile meeting the  following physical properties:

| PROPERTY | TEST METHOD | VALUES |
| --- | --- | --- |
| Fire Resistance | ASTM E108 | Class A |
| Slip Resistant | ANSI A137.1 | 0.42 DCOF (Wet) |

d.	Porcelain Tile as marketed by Sika Corporation

| PROPERTY | TEST METHOD | VALUES |
| --- | --- | --- |
| Slip Resistant | ANSI A137.1 | 0.46 DCOF (Wet) |
| Water Absorption | ASTM C373 | Not greater than 5% |

e.	Paver/Tile Accessories

    - Fixed Height Pedestals -  as supplied by Sika Corporation.

    - Adjustable Height Pedestals - as supplied by Sika Corporation

    - Paver Trays – as supplied by Sika Corporation

    - Paver Backer - as supplied by Sika Corporation

    - Splines & Fasteners - as supplied by Sika Corporation

2.	Stone Ballast

a.	Well screened and washed stone gravel meeting ASTM D-448-80, gradations #2, 4 or 5 as required.

3.	Concrete Pour Topping

(Note to specifier: DuPont™, manufacturers of Styrofoam™ brand insulation, recommends the incorporation of an air layer between the insulation and concrete. Hydrotech suggests the use of HydroDrain AL for this purpose.)

- Self-Ballasted Insulation (Note to Specifier: Edit to project requirements)

- Hydrotech® Hydroguard or Hydroguard Heavy

Extruded polystyrene rigid board insulation panels, topped with latex-modified concrete.

a.	Insulation shall meet ASTM C-578, Type VI

- Minimum compressive strength, ASTM D-1621, 40 (276 kPa)

- Maximum water absorption by volume per ASTM C-272, 0.3%

- Water vapor permeance for 1" product per ASTM E-96, 0.8 perm (max.)

(63 ng/Pa/s/m2)

e.	Insulation shall have an R value of 5.0 F ft2 h/Btu/in. (0.88 K m2/W) of thickness when tested at 75°F (23.9°C) mean temperature in accordance with ASTM C-518

- Product shall be free of CFC's.

- Latex-modified concrete topping shall be 3/8” thick for HydroGuard or 15/16” thick for HydroGuard Heavy.

- Panels to be manufactured with tongue and groove edges along long side.

- Miscellaneous

- Vegetative Roofing

Components of the Garden Roof® Assembly vary based upon project specifics.

Sika Corporation Garden Roof Assembly (Note to Specifier: Refer to Sika Corporation Garden Roof Assembly Long Form Guideline Specifications.)

2. 	Prefabricated Concrete Curbing

High density, hydraulically pressed, prefabricated concrete curbing units as shown on plans and details.

Hanover Architectural Products Rock Curb® as marketed by Sika Corporation size as noted on plans and details. (Note to Specifier:  Per standard product line:  please indicate configuration, layout, size, color, and edge profile of Rock Curb® on plans and details)

PART III EXECUTION

3.01	INSPECTION

A.	The roofing contractor shall examine all surfaces to receive the roofing assembly to verify it is acceptable and proper for the application of the membrane. Refer to Sika/Hydrotech's Pre-Installation & Application Guidelines.

B.	The roofing contractor shall not proceed with the installation of the roof membrane assembly until all roof defects have been corrected.

3.02	PREPARATION

A.	All surfaces shall be dry, smooth, free of depressions, voids, protrusions, clean and free of unapproved curing compounds, form release agents, and other surface contaminants. (Note to Specifier: Edit to project requirements)

1.	Cast in-place concrete/Composite deck

a.	Poured in place concrete shall be monolithic, smooth, free of voids, spalled areas, laitance, honeycombs, and sharp protrusions.

b.	Refer to Section 1.02 of this specification, Division 3.

2.	Precast concrete decks

a.	Precast units shall be mechanically secured to minimize differential movement and all joints between units shall be grouted or caulked.

    - Joints shall be pre-detailed with membrane and the appropriate manufacturer required reinforcing prior to full membrane application.

3.	Plywood decks

a.	Minimum thickness of 1/2" (12.7 mm) shall be required with adequate structural support.

b.	Tongue and groove joint edges shall be required.

    - Joints shall be pre-detailed with membrane and the appropriate manufacturer required reinforcing prior to full membrane application.

    - Adequate number and type of fasteners shall be used to comply with  applicable codes and maintain structural integrity.

    - Fasteners shall be secured to the structure with screw-type fasteners – not nails.

4.	Metal Deck with roof substrate board

a.	Roof substrate board shall be fire rated approved roof board attached to minimum 22 gauge steel decking with adequate structural support.

- Minimum 5/8 inch thick substrate board shall be used directly to metal deck.

- Minimum 1/2 inch thick substrate board shall be used over insulation.

- Flat fill and sloped roof insulation shall be installed in accordance with layout indicated on shop drawings and insulation board manufacturer’s minimum requirements.

- Adequate number and type of fasteners shall be used to comply with board manufacturers minimum requirements and applicable codes and maintain structural integrity.

- A minimum of 10 fasteners per full-size roof board shall be used.

- Appropriate roof adhesive shall be used in accordance with adhesive manufacturer requirements to comply with applicable codes and maintain structural integrity.

- Size and spacing of adhesive beads shall be as required by adhesive manufacturer.

- Roof substrate boards shall be installed such that all edge and end joints are supported by metal deck ribs and/or appropriate blocking.

- Roof substrate board end joints of adjacent lengths shall be staggered.

- Where required, a suitable vapor barrier membrane shall be applied as determined by the project design professional prior to installation of the roof substrate board and/or insulation.

- Roof substrate board edges and ends shall be butt loosely in typical installations. Long, uninterrupted runs (greater than 200 feet) of roof substrate board may require slight gapping due to higher temperature gain. Gapping shall not exceed 3/16 inch and all such gaps shall be filled flush with the surface of the roof board with an appropriate sealant. CONTACT Sika/Hydrotech for specifics.

- Roof substrate board shall be cut to size using a sharp utility knife and straightedge. The surface of the roof substrate board shall be scored with the utility knife and the board bent up sharply towards the score cut. A keyhole-type drywall saw shall be used for penetration cutouts and radii. A low rpm circular saw shall be used for 5/8 inch thick roof board.

5.	Re-Roof /Tear-Off Application

a.	Asphalt, coal tar pitch, or other existing membrane shall be removed. CONTACT Sika/Hydrotech.

b.	Deck type acceptable to Hydrotech.

B.	Substrate cleaning

1.	Thoroughly sweep the substrate which is to receive the roof membrane.

2.	Substrate shall be blown clean using an air compressor to remove any remaining loose debris.

3.	Final check to determine if concrete has been properly cleaned is to apply a test patch of Monolithic Membrane 6125 to the surface and check its adhesion.

3.03	INSTALLATION

A.	Surface conditioner application (to concrete substrates only)

1.	Hydrotech® Surface Conditioner 56170

- Apply the surface conditioner to the concrete using a handheld sprayer evenly at a rate of 300 to 600 SF/gallon (7.4 - 14.7 m2/L) depending on surface texture. Surface conditioner shall "tan" the surface, not blacken it.

- Allow sufficient time for the surface conditioner to thoroughly dry prior to the membrane application.

2.	Hydrotech® Low VOC Surface Conditioner

- Apply the surface conditioner to the concrete using a handheld sprayer evenly at a rate of 300 to 600 SF/gallon (7.4 - 14.7 m2/L) depending on surface texture. Surface conditioner shall "tan" the surface, not blacken it.

- Allow sufficient time for the surface conditioner to thoroughly dry prior to the membrane application.

- Do not store below 40°F (4°C) or above 110°F (43°C).

3.	Hydrotech® Surface Conditioner VC

- Thoroughly mix contents

- Cannot be applied at temperatures below 40°F (4°C)

- Apply the surface conditioner to the concrete using a handheld sprayer evenly at a rate of 300 to 600 SF/gallon (7.4 - 14.7 m2/L) depending on surface texture. Surface conditioner shall "tan" the surface, not blacken it.

- Allow sufficient time for the surface conditioner to thoroughly dry prior to the membrane application.

- Do not store below 40°F (4°C) or above 110°F (43°C).

4.	Hydrotech® Surface Conditioner GC

- Apply the surface conditioner GC in two coats, to the concrete using a nap roller evenly, no puddling, at a rate of 200-250 square feet (both coats) depending on surface texture. Surface conditioner shall be “milky white" when applied and will dry clear.

- Ambient and concrete surface temperatures must be at least 40° F (4° C)

- Optimum installation temperatures are between 45° F and 100° F (37° C)

- Allow sufficient time for the surface conditioner to thoroughly dry prior to the membrane application.

- Do not store below 65°F (4°C) or above 90°F (43°C).

B.	Membrane preparation

1.	The membrane shall be heated in double jacketed, oil bath or hot air melter with mechanical agitation, specifically designed for the preparation of a rubberized asphalt membrane.

2.	Heat membrane until membrane can be drawn-free flowing at a temperature range between 350°F (176°C) and 375°F (190°C).

C.	Detailing/Flashing

1.	All detailing and flashing shall be done in accordance with the manufacturer's standard guideline details.

- All detailing and flashing shall be completed before installing the membrane over the field of the substrate.

- Roof substrate board joints shall be pre-detailed with membrane and fabric reinforcing prior to full fabric reinforced membrane application.

- All liquid-applied, resin flashings shall be applied over properly completed membrane flashing details in accordance with the manufacturer’s standard guideline details.

D.	Membrane Application

1.	Apply the rubberized asphalt membrane at a rate to provide a continuous, monolithic coat of 90 mil minimum (approximately 2.3 mm), into which is fully embedded a layer of the spunbonded polyester fabric reinforcing sheet, followed by another continuous monolithic coat of membrane at an average thickness of 125 mil (approx. 3.2 mm). Total membrane thickness shall be 215 mils average (approx. 5.5 mm), 180 mils minimum.

2.	Overlap fabric reinforcing sheet 2-3 inches (50.8 mm - 76.2 mm) with membrane between sheets.

3.04	SEPARATION SHEET/PROTECTION COURSE INSTALLATION

A.	Separation/Protection course shall be installed as follows: (Note to Specifier: Edit to project requirements)

1.	Embed the separator sheet/protection course into the membrane while it is still warm to ensure a good bond.

2.	Overlap adjoining sheet edges a minimum of 2"-3" (50.8 mm - 76.2 mm) to ensure complete coverage.

a.	Laps and seams of Hydroflex 10 and 30 and HydroCap 90FR protection sheet shall be installed dry or sealed with membrane.

b.	Laps and seams of Hydrocap 160FR protection sheet shall be sealed with membrane or heat welded (touch or hot air).

3.	HydroFlex 10 and 30 and Hydrocap 90FR separator sheet/protection courses shall be covered by insulation, fabric, and ballast as soon as possible, within 30 days of membrane installation.

4.	HydroFlex 10 shall not be installed when HydroDrain 300 is specified. HydroDrain 1000, 400, 420 or 700 are appropriate directly over HydroFlex 10.

3.05	MEMBRANE INTEGRITY TEST

- The roof area or portions thereof shall be leak tested by means of Electronic Leak Detection (ELD) or by ponding water at a minimum depth of 2" (50.8 mm) for a period of 48 hours to check the integrity of the membrane installation.

  - ELD testing should be performed on all installed membrane assembly. Testing is to be performed in accordance with ASTM D7877 or ASTM D8231. Areas that are ELD tested should be covered immediately

  - VERIFY that the structure can support the deadload weight of a water test before testing.

  - If leaks should occur the water shall be drained completely and the membrane installation repaired.

- In the event of excessive damage to the membrane assembly, Electronic Leak Detection testing shall be required prior to the placement of subsequent overburden.

3.06	 DRAINAGE COURSE/INSULATION/FILTER FABRICS/BALLAST PLACEMENT

A.	General

1.	Contractor shall examine the roof area to be covered with subsequent topping materials in order to insure that all roof areas have received the membrane, the membrane is free of damage, it is properly protected, and all flashing has been properly installed, before placing the insulation.

2.	Drainage course (if required), insulation, fabric, and ballast shall be installed as each section is completed.

B.	Prefabricated Drainage Placement (if required)

1.	Install drainage course on horizontal and vertical surfaces in accordance with the manufacturer's recommendations.

(Note to specifier: HydroDrain 300 shall not be installed directly over HydroFlex 10 separation/protection sheet. If drainage mat is to be specified over HydroFlex 10, HydroDrain 1000 or 420 shall be specified.)

2.	Layout and position drainage course and allow to lay flat. Cut and fit drainage course to perimeter and penetrations.

3.	The geotextile overlapped edges may be bonded to the adjacent drainage course geotextile with an appropriate adhesive to ensure continuous geotextile integrity.

4.	Drainage course shall be covered with subsequent overburden within 10 – 14 days of installation.

C.	Insulation Placement

1.	Loose lay in a staggered manner and tightly butt together all insulation boards. The maximum acceptable opening between insulation boards shall be 3/8" (9.5 mm). Insulation shall be installed within 3/4" (19 mm) of all projections, penetrations, etc.

2.	When multi-layer insulation applications are involved the bottom layer of insulation shall be the thickest layer and must be a minimum of 2" thick (50.8 mm). All layers shall be installed unadhered to each other and all joints staggered in relation to underlying layers.

D.	Filter Fabric Placement

1.	Position the fabric over the insulation as follows:

(Note to specifier: Fabric is not required under full paver installations, however, may be desirable to mask insulation color at joints between pavers.)

a.	Overlap all edges a minimum of 1 foot (304.8 mm).

b.	Install the fabric so that no joints will exist between the sheets parallel to and within 6 feet (1828.8 mm) of the roof perimeter.

c.	Extend the fabric to 2" to 3" (50.8 mm - 76.2 mm) above the ballast at the perimeter and penetrations.

d.	The fabric shall be extended to drain bases or bonnets but should not cover drains or restrict water flow to the drain.

e.	Additional fabric shall be installed around all penetrations in order to prevent stone entry into the space between the penetration and the insulation.

f.	Black, fabric-covered insulation shall not be left exposed in ambient temperatures greater than or equal to 90°F. Measures to maintain temperatures at insulation surface below 165°F shall be implemented.

E.	Ballast

      - Ballast shall be installed in accordance with project specifications and requirements.

- Wood Tile Installation

- Installation of Wood Tiles over Styrofoam™ insulation shall be preceded by the application of appropriate ballast. Reference 3.06.E. above.

- One of the FS-1 Fastening Kits shall be required to secure the corners of two or more tiles to each Hydrotech Adjustable Pedestal without penetrating or damaging wood. Contact Sika/Hydrotech for complete installation guidelines.

- Self-Ballasted Insulation Placement

- Installation of Hydroguard insulation panels requires analysis based upon project specifics. Contact Sika/Hydrotech. for complete installation guidelines.

- Green Roof Installation

- Installation of the Garden Roof Assembly requires analysis based upon project specifics. Contact Sika/Hydrotech for complete installation guidelines.

3.07	PROTECTION

A.	Roof walkways

1.	Walkways shall be required at all traffic concentration points (i.e., roof hatches, access doors, ladders, etc.) regardless of traffic frequency.

a.	Pavers shall be loose laid and weight 18 lbs/sqft minimum (88 kg/m2).

3.08	JOB COMPLETION

A.	Contractor and a representative of the membrane manufacturer shall inspect the roof assembly and notify the contractor of any defects. All defects must be corrected.

B.	Clean up all debris and equipment.

END OF SECTION

The preceding specifications are provided by Sika Corporation as a guide for informational purposes only and are not intended to replace sound engineering practice and judgment and shall not be relied upon for that purpose. Sika Corporation makes no warranty of any kind, either express or implied, as to the accuracy, completeness or the contents of these guide specifications. Sika Corporation assumes no liability with respect to the provision or use of these guide specifications, nor shall any legal relationship be created by, or arise from, the provision of such specifications  SIKA SHALL NOT BE RESPONSIBLE UNDER ANY LEGAL THEORY TO ANY THIRD PARTY FOR ANY DIRECT OR CONSEQUENTIAL DAMAGES OF ANY KIND ARISING FROM THE USE OF THESE GUIDE SPECIFICATIONS.  The specifier, architect, engineer or design professional or contractor for a particular project bears the sole responsibility for the preparation and approval of the specifications and determining their suitability for a particular project or application.

Prior to each use of any Sika product, the user shall always read and follow the warnings and instructions on the product's most current Technical Data Sheet, product label and Material Safety Data Sheet which are available at www.usa.sika.com/roofing or www.hydrotechusa.com or by calling (800) 933-7452.  Nothing contained in any Sika materials relieves the user of the obligation to read and follow the warnings and instructions for each Sika product as set forth in the current Technical Data Sheet, product label, and Material Safety Data Sheet prior to product use.